## HVS 5.1
Battery Module | HVS (2.56 kWh, 102.4 V, 38 kg)
Number of Modules | 2
Usable Energy | 5.12 kWh
Max Output Current | 25 A
Peak Output Current | 50 A, 3 s
Nominal Voltage | 204.8 V
Operating Voltage | 160~240 V
Dimensions (H / W / D) | 762 x 585 x 298 mm
Weight | 91 kg

## HVS & HVM
Operating Temperature | -10 °C to +50 °C
Battery Cell Technology | Lithium Iron Phosphate (cobalt-free)
Communication | CAN / RS485
Enclosure Protection Rating | IP55
Round-trip Efficiency | ≥ 96%
Certification | VDE2510-50 / IEC62619 / CEC / CE / UN38.3
Applications | ON Grid / ON Grid + Backup / OFF Grid
Warranty | 10 Years